## Sheet2
| ROOM NAME / ITEM NAME | QTY. | Brand | Origin
1 | Rep exercise band | 1 | MVS | Belgium
2 | Audiometer, Clinical | 1 | Intracoustic | Denmark
3 | Corneal topography, with electrical lift table | 1 | BON\CSO | Europe
4 | Pulmonary Function Test machine with cabinet | 1 | MGC | Europe\USA
5 | ACT MACHINE | 1 | Medtronic | EUROPE\USA
6 | A/B SCAN | 1 | Quantel | France
7 | ESWL, lithotripsy unit | 1 | Richard wolf | Germany
8 | Autoclave large (DOUBLE DOOR) | 3 | MMM | Germany
9 | Low Temp. Sterilizer 150L | 1 | MMM | Germany
10 | Bone Densitometer | 1 | Medical Econet | Germany
11 | washer devices large (DOUBLE DOOR) | 3 | MMM | Germany
12 | phaco machine | 1 | ZIESS | Germany
13 | Ultraviolet Lamp Therapy unit ( UV Cabinet) | 2 | SCHULZE & BÖHM GmbH | Germany
14 | ORTHOPEDIC POWER DRILL AND SAW SYSTEM(ORTHOPEDIC POWER TOOLS SYSTEM) | 1 | Medical Bees | Germany
15 | ORTHOPEDIC POWER DRILL AND SAW SYSTEM(ORTHOPEDIC POWER TOOLS SYSTEM) | 1 | Medical Bees | Germany
16 | Pacemaker, External, Invasive | 2 | Biotroniki | Germany
17 | dental microscopy | 1 | Kaps | Germany
18 | CARDIAC MARKER ANALYZER | 1 | Siemens | Germany
19 | Renal Dialysis, Machine | 13 | Fresenius | Germany
20 | Opthalmoscope, Indirect | 1 | Riestar | Germany
21 | Gypsum Saw Machine | 2 | Diameda | Germany
22 | dermoscope | 1 | Riestar | Germany
23 | Monitor, Foetal, Antepartum, Twin / CTG Option | 1 | Dixion | Germany
24 | CENTERFUAGE | 1 | OHAUS | Germany
25 | Centrifuge (PCV) | 3 | OHAUS | Germany
26 | Centrifuge, Haematocrit | 2 | OHAUS | Germany
27 | Centrifuge, Bench Mounted, General Purpose | 1 | OHAUS | Germany
28 | Retinoscope & ophthalmoscope, AC power | 2 | Riestar | Germany
29 | Large Rotator / Shaker for Blood Bags | 1 | Siemens | Germany
30 | ENT Head Light Examination Set | 1 | Riestar | Germany
31 | Laryngoscope ,SET | 3 | Riestar | Germany
32 | Suction,SurgicalSuction Unit | 11 | Dixion | Germany
33 | Infusion Pump | 52 | Dixion | Germany
34 | Syringe Pump, | 36 | Dixion | Germany
35 | ophthalmoscope, | 2 | Riestar | Germany
36 | Laryngoscope ,SET | 1 | Riestar | Germany
37 | Roller, Tubes Machine | 2 | SECA | Germany
38 | Scales, Balance, Patient | 5 | SECA | Germany
39 | Scales, Balance, Patient, Pediatric | 2 | SECA | Germany
40 | Otoscope Diagnostic Set | 22 | Riestar | Germany
41 | Sphygmomanometer, Digital Automatic | 5 | Riestar | Germany
42 | Sphygmomanometer, Digital Automatic | 15 | Riestar | Germany
43 | DIGITAL TOURNIQUET | 1 | Zimmer | Germany/ France
44 | Tourniquet, Automatic | 2 | Zimmer | Germany/ France
45 | Microcentrifuge | 1 | CAPP | India
46 | Platelet Shaker Incubator (Incubator, Laboratory) | 3 | CAPP | India
47 | vacuum extractor | 3 | Narang | India
48 | Pipette, Hand, Automatic | 8 | CAPP | India
49 | Pipette, Multichannel | 2 | CAPP | India
50 | Digital Fluoroscopy x-ray | 1 | VILLA | ITALY
51 | ENT, Treatment Unit complete. | 1 | Euroclinic | ITALY
52 | Digital X-Ray Unit, C-Arm | 2 | VILLA | ITALY
53 | Biometry and anterior corneal measurement device | 1 | Topcon | ITALY
54 | X-ray dental Panoramic | 1 | ACTEON | ITALY
55 | TISSUE PROCESSOR | 1 | Dipath | ITALY
56 | CRYOSTAT | 1 | Dipath | ITALY
57 | Perimetry SAP measurement unit | 1 | Topcon | ITALY
58 | SLIDE STAINER, POWER SUPPLY AND MONITOR | 1 | Dipath | ITALY
59 | TISSUE EMBEDDING EQUIPMENT | 1 | Dipath | ITALY
60 | dental chair, set complete | 1 | Castellini | ITALY
61 | MICROTOME | 1 | Dipath | ITALY
62 | Chair, Patient, ENT | 1 | Euroclinic | ITALY
63 | Electrosurgical unit (Electro Surgery Unit / Basic) | 1 | L.E.D S.P.A. | ITALY
64 | ElectroSurgicalUnit,With Trolley | 9 | L.E.D S.P.A. | ITALY
65 | dental x-ray portable | 1 | ACTEON | ITALY
66 | Refrigerator, Laboratory, Blood Refrigeration | 2 | SMEG | ITALY
67 | Autoclave 20L | 1 | Castellini | ITALY
68 | Autoclave small | 3 | Castellini | ITALY
69 | Eye-test chart unit | 2 | Topcon | ITALY
70 | SMOKE EVACUATION | 1 | L.E.D S.P.A. | ITALY
71 | Epiluminescence Microscope | 1 | OPTIKA | ITALY
72 | OCT WITH FUNDUS CAMERA FA | 1 | Topcon | JAPAN
73 | X-ray unit, mobile(DR MOBILE) | 4 | Canon | JAPAN
74 | HBA1C ANALYZER | 1 | Shimadzu | JAPAN
75 | Ophthalmology Surgical microscopy | 1 | Topcon | JAPAN
76 | ECHO/ Cardiac HOSPITAL TYPE | 1 | Canon | JAPAN
77 | Ultrasound Unit hospital type | 1 | Canon | JAPAN
78 | Ultrasound Unit (Ob-Gyn) | 1 | Canon | JAPAN
79 | digital-ready slit lamp | 2 | Topcon | JAPAN
80 | Tonometer, non-contact type WITH PACHYMETER | 1 | Topcon | JAPAN
81 | Auto refractokeratmeter with electrical lift table | 1 | Topcon | JAPAN
82 | Bilirubin Anaylzer | 1 | Apple | JAPAN
83 | Bilirubin Anaylzer | 1 | Apple | JAPAN
84 | Auto lense meter | 2 | Topcon | JAPAN
85 | Trial lenses | 1 | Topcon | JAPAN
86 | bilirubin meter | 1 | Apple | JAPAN
87 | Curettage set | 1 | Snaa Industries | PK
88 | Hemorrhoidectomy set | 1 | Snaa Industries | PK
89 | Instrument set, Basic Orthopedics | 1 | Snaa Industries | PK
90 | Instrument set, Major Basic set | 1 | Snaa Industries | PK
91 | Instrument set, Minor Basic Surgery | 1 | Snaa Industries | PK
92 | Instrument set, Open Urethra Surgery | 1 | Snaa Industries | PK
93 | Instrument set, Suture Instrument | 1 | Snaa Industries | PK
94 | Instrument set, Vaginal Hysterectomy | 1 | Snaa Industries | PK
95 | Instrument set, Vaginal Plastic Surgery | 1 | Snaa Industries | PK
96 | Instrument set, Vaginal speculum | 1 | Snaa Industries | PK
97 | LAMINECTOMY SET | 1 | Snaa Industries | PK
98 | COMPRESSION UNIT SEQUENTIAL | 2 | Care pump | POLAND
99 | Massage Unit | 2 | Care pump | Poland
100 | BROCHOSCOPY PEDIATRIC SIZE FLXIABLE | 1 | SonoScape | PRC
101 | ENDOSCOPY TOWER (GIT) | 1 | SonoScape | PRC
102 | ENDOSCOPY TOWER (GIT) PEDIATRIC | 1 | SonoScape | PRC
103 | Microbiology Analyser | 1 | Auto Bio | PRC
104 | Digital Radiography DR Unit / General & Bucky | 2 | Mindray | PRC
105 | Operating Table for Orthopaedic Surgery W/Accessories | 1 | Mindray | PRC
106 | Anaesthesia Machine, | 9 | Mindray | PRC
107 | Operating Table for OPHTHALMOLOGY Surgery Accessories | 1 | Mindray | PRC
108 | Echo portable machine | 2 | Mindray | PRC
109 | Analyser, Haematology, Multi-Parameter (5 parts Differential) | 1 | Mindray | PRC
110 | ANALYZERS, COAGULATION, AUTOMATED | 1 | Mindray | PRC
111 | ESR ANALYSER | 1 | Biobase | PRC
112 | AUTO IMMUNE ANALYZER | 1 | Mindray | PRC
113 | Table Operating, Caesarean Surgery | 2 | Mindray | PRC
114 | Table Operating, General Surgery for minor operating | 1 | Mindray | PRC
115 | Operating Table for Surgery Accessories | 5 | Mindray | PRC
116 | Resuscitator Neonatal warming with table (Resuscitator, Neonatal ) | 1 | David | PRC
117 | Resuscitator, Neonatal, portable (Resuscitator, Neonatal ) | 2 | David | PRC
118 | Class II Cabinet, Containment, A2 | 3 | Biobase | PRC
119 | ELIZA ANALYZER | 1 | Biobase | PRC
120 | (Automated Clinical Analyzer) CLINICAL CHEMISTRY LAB / BIOCHEMISTERY FULL AUTOMATED | 1 | Mindray | PRC
121 | CRB / D-DIMAR | 1 | Mindray | PRC
122 | Analyser, Haematology, Multi-Parameter (3 parts Differential) | 2 | Mindray | PRC
123 | incubator transport, infant | 2 | David | PRC
124 | Reanimation Table with Accessories | 1 | David | PRC
125 | MICROSCOPY (FLUORESCENT) | 1 | Biobase | PRC
126 | infant incubator | 3 | David | PRC
127 | infant incubator | 1 | David | PRC
128 | Monitor, Patient, ICU | 22 | Mindray | PRC
129 | (Laryngoscope) Video Laryngoscope | 8 | HugeMed | PRC
130 | Defibrillator & Accessories | 20 | Mindray | PRC
131 | Light, Operating Light, portable(Lamp, Examination, Mobile) | 15 | Mindray | PRC
132 | SURGICAL Light, Mobile | 1 | Mindray | PRC
133 | Monitor, Patient, Central | 3 | Mindray | PRC
134 | Operating Table for /LDR | 3 | Mindray | PRC
135 | patient monitor etco | 6 | Mindray | PRC
136 | phototherapy cylinderical(Intensive care Incubator 360, Neonatal) | 1 | David | PRC
137 | phototherapy cylinderical(Intensive care Incubator 360, Neonatal) | 1 | David | PRC
138 | vien viewer device | 7 | Biobase | PRC
139 | BATHS, TISSUE FLOATATION | 1 | Biobase | PRC
140 | WARMER,PATIENT, BLANKET | 3 | Keewell | PRC
141 | Cogaluation | 1 | Biobase | PRC
142 | Monitor, Patient, mobile | 8 | Mindray | PRC
143 | RECORDER, ECG, 12 CHANNEL W/ INTERPRETIVE SOFTWARE | 18 | Mindray | PRC
144 | Water, Bath | 1 | Biobase | PRC
145 | MICROSCOPE | 1 | Biobase | PRC
146 | Microscope, Binocular, Routine | 1 | Biobase | PRC
147 | Microscope, Laboratory Binocular | 2 | Biobase | PRC
148 | MICROSCOPE, LABORATORY, LIGHT | 2 | Biobase | PRC
149 | Monitor, Patient | 32 | Mindray | PRC
150 | Thermometer, Electronic (lab) | 1 | Biobase | PRC
151 | WARMER, BLOOD AND FLUID | 1 | Keewell | PRC
152 | WARMER, BLOOD AND FLUID | 1 | Keewell | PRC
153 | WARMER, BLOOD AND FLUID | 1 | Keewell | PRC
154 | WARMER, BLOOD AND FLUID | 1 | Keewell | PRC
155 | WARMER, BLOOD AND FLUID | 1 | Keewell | PRC
156 | WARMER, BLOOD AND FLUID | 1 | Keewell | PRC
157 | WARMER, BLOOD AND FLUID | 2 | Keewell | PRC
158 | Balance, Precision | 1 | Biobase | PRC
159 | Foetal, Doppler, portable | 2 | EDAN | PRC
160 | phototherapy free stand | 3 | David | PRC
161 | phototherapy free stand | 3 | David | PRC
162 | phototherapy free stand | 1 | David | PRC
163 | Electronic Scales, Lab. | 1 | Biobase | PRC
164 | Basinette, Infant | 14 | David | PRC
165 | Mixer, Vortex | 1 | Biobase | PRC
166 | Plasma Extractor | 1 | Biobase | PRC
167 | shaker vibroter | 1 | Biobase | PRC
168 | Shaker, Flask, Orbital | 1 | Biobase | PRC
169 | Eggsercizer | 1 | local | PRC
170 | Ventilator, Adult/Paediatric, hospital type | 21 | Hamilton | Switzerland
171 | Ventilator, Paediatric | 4 | Hamilton | Switzerland
172 | Breast Pump | 3 | Medela | Switzerland
173 | Endoscope washer and disinfection unit | 1 | MIXTA | Turkey
174 | Endoscope washer and disinfection unit | 1 | MIXTA | Turkey
175 | Endoscopes Washer | 2 | MIXTA | Turkey
176 | Endoscope cabinet | 2 | MIXTA | Turkey
177 | Counter / Sink, + Water gun, air gun (Double) | 1 | Mixta | Turkey
178 | Rinser, Spray Gun | 1 | MIXTA | Turkey
179 | Rinser, Spray Gun | 1 | MIXTA | Turkey
180 | Washer, Ultrasonic | 2 | Mixta | Turkey
181 | THERMOTHERAPY - CHILLING UNIT | 1 | Fizyomed | Turkey
182 | nebulizer, portable | 6 | Elmaslar | Turkey
183 | Shoulder wheel | 1 | Fizyomed | Turkey
184 | Ultrasonic nebulizer pediatric\ adult. Hospital type. | 5 | Elmaslar | Turkey
185 | Renal, Chair | 13 | Turmed | Turkey
186 | THERMOTHERAPY - Wax Bath | 1 | Fizyomed | Turkey
187 | Parallel bars | 1 | Fizyomed | Turkey
188 | CRIBS BAY | 5 | turmed | Turkey
189 | Wall bars | 1 | Fizyomed | Turkey
190 | Balance board | 1 | Fizyomed | Turkey
191 | Medical exercise mat | 2 | Fizyomed | Turkey
192 | Dumb-Bells with Rack | 1 | Fizyomed | Turkey
193 | Swiss Ball | 2 | Fizyomed | Turkey
194 | water monometer | 10 | local | Turkey/PRC
195 | Wrislets | 1 | local | Turkey¦PRC
196 | EXTRACTION | 1 | BTL | UK
197 | HIGH ENERGY INDUCTIVE THERAPY,with Trolly and fixed Arm with Trolly | 1 | BTL | UK
198 | HIGH POWER LASER | 1 | BTL | UK
199 | TECAR THERAPY,With Cream and Trolly | 1 | BTL | UK
200 | CONTINUOUS AND PULSED SHORTWAVE THERAPY | 1 | BTL | UK
201 | Harmonic knife machine | 1 | BOWA | UK
202 | Medical GYM Treadmill | 1 | BTL | UK
203 | COMBINATION THERAPY, ULTRASOUND AND ELECTROTHERAPY | 2 | BTL | UK
204 | SHOCKWAVE THERAPY | 2 | BTL | UK
205 | Treadmill Machine with ECG 12 channel | 1 | BTL | UK
206 | Medical GYM Bike Rehab | 1 | BTL | UK
207 | CONTINIOUS AND PULSED MICROWAVE THERAPY | 1 | BTL | UK
208 | Medical GYM Leg Extension | 1 | BTL | UK
209 | TRACTION UNIT WITH COUCHES,with full accessories and cervical | 1 | BTL | UK
210 | THERMOTHERAPY - Packheater,50 - 80 Liter with 12 different Packs | 1 | BTL | UK
211 | CPM Upper | 1 | BTL | UK
212 | CPM Lower | 1 | BTL | UK
213 | Medical GYM Chest Press | 1 | BTL | UK
214 | INFRA-RED EQUIPMENT | 2 | BTL | UK
215 | Medicine ball, leather | 1 | BTL | UK
216 | IABP Machine | 1 | Teleflex | USA
217 | Real-time PCR | 1 | Applied Biosystems | USA
218 | BACTERIA IDENTIFICATION SYSTEM | 1 | Biomerieux | USA
219 | EMG Machine | 1 | CADWELL | USA
220 | EEG Monitoring System | 1 | CADWELL | USA
221 | Blood gas analyzer | 6 | Siemens | USA
222 | blood gas analyzer (portable) | 1 | Siemens | USA
223 | HARMONE ANALYZER | 1 | Siemens | USA
224 | Colposcopy device | 1 | Advanced | USA
225 | ELYCRTOLYTE ANALYZER | 1 | Siemens | USA
226 | HOLTER ANALYSES SYSTEM | 1 | Advanced | USA
227 | SLIDE STAINER, HEMATOLOGY, AUTO | 1 | Siemens | USA
228 | Holter ECG recorder | 5 | Advanced | USA
229 | Magnetic Stirrer / Heater | 1 | MIXTA | TUR
230 | EXTRACTION DEVICE | 1 | MIXTA | TUR
231 | Balance board | 1 | MIXTA | TUR
232 | X-Ray Viewer, Double | 32 | MIXTA | TUR
233 | X-Ray Viewer, Single | 28 | MIXTA | TUR
234 | APRON, LEAD | 15 | MIXTA | TUR
235 | packing devices | 2 | MIXTA | TUR
236 | storage, Instrument | 5 | MIXTA | TUR
237 | PAPER TROLLY | 2 | MIXTA | TUR
238 | PHYSIOTHERAPY COUCH 2-section | 2 | MIXTA | TUR
239 | PHYSIOTHERAPY COUCH Hight adjustable, 3-section | 2 | MIXTA | TUR
240 | Exercise stick.wood, 100 cm | 1 | MIXTA | TUR
241 | Mortuary storage 6 body | 3 | MIXTA | TUR
242 | body washing table | 1 | MIXTA | TUR
243 | Oxygen Flowmeter, | 298 | MIXTA | TUR
244 | Suction Regulator | 38 | MIXTA | TUR
245 | High pressure regulator | 16 | MIXTA | TUR
246 | Blunder | 15 | medin | Germany
247 | infant incubator | 10
248 | CPAP device | 4
249
250
251 | اجهزة مضافة
252
253